FEDERAL SERVICE FOR HEALTHCARE AND SOCIAL DEVELOPMENT

CERTIFICATE # FS 29-PTI-06

ON ADDING TO THE LIST OF TESTING LABORATORIES AUTHORIZED TO CONDUCT TECHNICAL QUALIFICATION TESTING OF PRODUCTS FOR MEDICAL USE

Registered in the Register of the Federal Service, September 6, 2006

Valid through September 6, 2011

Federal Service for Healthcare and Social Development certifies that Testing Center Energia Plus (OOO Energia Plus), 141071, Moscow region, Korolev, ul. Komsomolskaya 8, has been checked and added to the list of testing laboratories, authorized to conduct qualifying technical testing of the products for medical use listed in the appendix.

| Head of the Federal Service | [signed] Seal: Ministry of Healthcare and Social Development of Russian Federation Federal Service for Healthcare and Social Development Primary State Registration Number (OGRN) 1047796244395 | R.Y.Habriev |
| --- | --- | --- |

APPROVED BY

Head of the Federal Service for Healthcare and Social Development

[signed] R.Y. Habriev

September 6, 2006

Appendix to the certificate

#      FS 29-PTI-06        of September 6, 2006

| Item # | Product name | Russian Classification of Production (OKP) code | Test title | Name of the ND or their sections and articles dealing with the products with the characteristics (parameters) being determined | Name of the ND for the testing methods |
| --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1. | Orthopedic shoes | 88 2000 | Technical qualifying testing, qualifying testing, periodic testing, type testing, acceptance and delivery testing | GOST 14226-80, GOST 21463-87, Product technical specifications | GOST 14226-80, GOST 21463-87, Product technical specifications |
| 2. | Medical products | 81 5800 | Technical qualifying testing, qualifying testing, periodic testing, type testing, acceptance and delivery testing | GOST 1172-93, GOST R 51219-98, GOST R 52162-2003 | GOST 1172-93, GOST R 51219-98, GOST R 52162-2003 |
| 3. | Medical means and materials, products for medical use, other | 93 9000 | Technical qualifying testing, qualifying testing, periodic testing, type testing, acceptance and delivery testing | GOST 1172-93, GOST 1179-93, GOST 1207-70, GOST 5556-81, GOST 9412-93, GOST 9897-88, GOST 16427-93, GOST 22379-93, GOST 23134-78, GOST 25194-82, GOST R 51058-97, GOST R 51059-94, GOST R 51094-97, GOST R 51202-98, GOST R 51219-98, GOST R 51381-99, GOST R 51735-2001, GOST R 51736-2001, GOST R 51744-2001, GOST R 51817-2001, GOST R 51830-2001, GOST R 51867-2002, GOST R 51887-2002, GOST R 51889-2002, GOST R 52004-2003, GOST R 52162-2003, GOST 52224-2004, GOST R ISO 7491-95 GOST R 51058-97, GOST R 51059-94, GOST R 51094-97, GOST R 51202-98, GOST R 51219-98, GOST R 51381-99, GOST R 51735-2001, GOST R 51736-2001, GOST R 51744-2001, GOST R 51817-2001, GOST R 51830-2001, GOST R 51867-2002, GOST R 51887-2002, GOST R 51889-2002, GOST R 52004-2003, GOST R 52162-2003, GOST 52224-2004, GOST R ISO 7491-95 | GOST 1172-93, GOST 1179-93, GOST 1207-70, GOST 5556-81, GOST 9412-93, GOST 9897-88, GOST 16427-93, GOST 22379-93, GOST 23134-78, GOST 25194-82, GOST R 51058-97, GOST R 51059-94, GOST R 51094-97, GOST R 51202-98, GOST R 51219-98, GOST R 51381-99, GOST R 51735-2001, GOST R 51736-2001, GOST R 51744-2001, GOST R 51817-2001, GOST R 51830-2001, GOST R 51867-2002, GOST R 51887-2002, GOST R 51889-2002, GOST R 52004-2003, GOST R 52162-2003, GOST 52224-2004, GOST R ISO 7491-95 GOST R 51058-97, GOST R 51059-94, GOST R 51094-97, GOST R 51202-98, GOST R 51219-98, GOST R 51381-99, GOST R 51735-2001, GOST R 51736-2001, GOST R 51744-2001, GOST R 51817-2001, GOST R 51830-2001, GOST R 51867-2002, GOST R 51887-2002, GOST R 51889-2002, GOST R 52004-2003, GOST R 52162-2003, GOST 52224-2004, GOST R ISO 7491-95 |
| 4 | Prosthetic and orthopedic products | 93 9600 93 9700 | Technical qualifying testing, qualifying testing, periodic testing, type testing, acceptance and delivery testing | GOST 30399-95, GOST 30400-95, GOST R 50444-92, GOST R 50581-93, GOST R 50582-93, GOST R 52114-2003, GOST R 51191-98, GOST R 51219-98, GOST R 51632-2000, GOST R ISO 14602-99, GOST R ISO 14630-99, GOST R ISO 15032-2001, RST RSFSR 621-79, RST RSFSR 644-80 | GOST 30399-95, GOST 30400-95, GOST R 50444-92, GOST R 50581-93, GOST R 50582-93, GOST R 52114-2003, GOST R 51191-98, GOST R 51219-98, GOST R 51632-2000, GOST R ISO 10328.3-98, GOST R ISO 10328.4-98, GOST R ISO 10328.5-98, GOST R ISO 10328.6-98, GOST R ISO14602-99, GOST R ISO14630-99, GOST R ISO 15032-2001, RST RSFSR 621-79, RST RSFSR 644-80 |
| 5 | Other medical products and materials | 93 9800 | Technical qualifying testing, qualifying testing, periodic testing, type testing, acceptance and delivery testing | GOST 3399-76, GOST 10782-85, GOST 22967-90, GOST 24861-91, GOST 25046-81, GOST 25047-87, GOST 25377-93, GOST 25981-83, GOST 26145-84, GOST 26641-85, GOST 27048-86, GOST R 50444-92, GOST R 50580.1-93, GOST R 50580.2-93, GOST R 50581-93, GOST R 50582-93, GOST R 50855-96, GOST R 51073-97, GOST R 51529-99, GOST R 51533-99, GOST R 51534-99, GOST R 51397-99, GOST R 51622-2000, GOST R 52038-2003, GOST R 52039-2003, GOST R 52040-2003, GOST R ISO 7206-1-2005, GOST R ISO 7206-2-2005, GOST R ISO 7206-4-2005, GOST R ISO 7206-10-2005, GOST R ISO 7228-93, GOST R ISO 8637-99, GOST R ISO 8836-99, GOST R ISO 10555.1-99, GOST R ISO 10555.2-99, GOST R ISO 10555.3-99, GOST R ISO 10555.4-99, GOST R ISO 10555.5-99, GOST R ISO 14602-99, GOST R ISO 14630-99 | GOST 3399-76, GOST 10782-85, GOST 22967-90, GOST 24861-91, GOST 25046-81, GOST 25047-87, GOST 25377-93, GOST 25981-83, GOST 26145-84, GOST 26641-85, GOST 27048-86, GOST R 50444-92, GOST R 50580.1-93, GOST R 50580.2-93, GOST R 50581-93, GOST R 50582-93, GOST R 50855-96, GOST R 51073-97, GOST R 51529-99, GOST R 51533-99, GOST R 51534-99, GOST R 51397-99, GOST R 51622-2000, GOST R 52038-2003, GOST R 52039-2003, GOST R 52040-2003, GOST R ISO 7206-1-2005, GOST R ISO 7206-2-2005, GOST R ISO 7206-4-2005, GOST R ISO 7206-10-2005, GOST R ISO 7228-93, GOST R ISO 8637-99, GOST R ISO 8836-99, GOST R ISO 10555.1-99, GOST R ISO 10555.2-99, GOST R ISO 10555.3-99, GOST R ISO 10555.4-99, GOST R ISO 10555.5-99, GOST R ISO 14602-99, GOST R ISO 14630-99 |
| 6 | Medical instruments | 94 3000 | Technical qualifying testing, qualifying testing, periodic testing, type testing, acceptance and delivery testing | GOST 19126-79, GOST 21238-93, GOST 21239-93, GOST 21240-89, GOST 21241-89, GOST 21643-82, GOST 22090.1-93, GOST 22090.2-93, GOST 22967-90, GOST 24861-91, GOST 25046-81, GOST 25377-93, GOST 25981-83, GOST 26634-91, GOST 26641-86, GOST 28071-89, GOST 28518-90, GOST 28519-90, GOST 28684-90, GOST 50331-92, GOST R 50350.1-92, GOST R 50350.2-92 GOST R 50351.1-92, GOST R 50351.2-93, GOST R 50348.1-92, GOST R 50348.2-92, GOST R 50564-93, GOST R 50565-93, GOST R 50569-93, GOST R 50569.2-94, GOST R 50581-93, GOST R 50582-93 | GOST 19126-79, GOST 21238-93, GOST 21239-93, GOST 21240-89, GOST 21241-89, GOST 21643-82, GOST 22090.1-93, GOST 22090.2-93, GOST 22967-90, GOST 24861-91, GOST 25046-81, GOST 25377-93, GOST 25981-83, GOST 26634-91, GOST 26641-86, GOST 28071-89, GOST 28518-90, GOST 28519-90, GOST 28684-90,GOST 2999-75, GOST 9013-59, GOST R 50331-92, GOST R 50350.1-92, GOST R 50350.2-92 GOST R 50351.1-92, GOST R 50351.2-93, GOST R 50348.1-92, GOST R 50348.2-92, GOST R 50564-93, GOST R 50565-93, GOST R 50569-93, GOST R 50569.2-94, GOST R 50352-92, GOST R 50581-93, GOST R 50582-93 |
| 7 | Medical devices and equipment, except for x-ray and radio-isotopic equipment (94 4220, 94 4230, 94 4450) | 94 4000 | Technical qualifying testing, qualifying testing, periodic testing, type testing, acceptance and delivery testing | GOST 2584-83, GOST 6915-89, GOST 18491-90, GOST 19687-89, GOST 23154-78, GOST 23496-89, GOST 23643-79, GOST 24264-93, GOST 24264.2-94, GOST 25047-87, GOST 25052-87, GOST 25053-87, GOST 25995-83, GOST 26145-84, GOST 26221-84, GOST 26997-2002, GOST 27047-86, GOST 27072-86, GOST 27874-88, GOST 28386-89, GOST 28603-90, GOST R 50327.2-92, GOST R 50444-92, GOST R 50663-99, GOST R 51024-97, GOST R 51073-97, GOST R 51193-98, GOST R 51316-99, GOST R 51397-99, GOST 51407-99, GOST R 51528-99, GOST R 51529-99, GOST R 51530-99, GOST R 51531-99, GOST 2584-83, GOST 6915-89, GOST 18491-90, GOST 19687-89, GOST 23 \ 54-78, GOST 23496-89, GOST 23643-79, GOST 24264-93, GOST 24264.2-94, GOST 25047-87, GOST 25052-87, GOST 25053-87, GOST 25995-83, GOST 26145-84, GOST 26221-84, GOST 26997-2002, GOST 27047-86, GOST 27072-86, GOST 27874-88, GOST 28386-89, GOST 28603-90, GOST R 50327.2-92, GOST R 50444-92, GOST R 50663-99, GOST R 51024-97, GOST R 51073-97, GOST R 51193-98, GOST R 51316-99, GOST R 51397-99, GOST 51407-99, GOST R 51528-99, GOST R 51529-99, GOST R 51530-99, GOST R 51531-99, GOST 51532-99, GOST 51533-99, GOST 51534-99, GOST R 51535-99, GOST R 51566-2000, GOST R 51959.1-2002, GOST R 51959.2-2002, GOST R 51959.3-2002, GOST R ISO 5358-99, GOST R ISO 8185-99, GOST R ISO 8615-99, GOST R ISO 8637-99, GOST R ISO 8638-99, GOST R ISO 8835.3-99, GOST R ISO 9703.1-99, GOST R ISO 9703.2-99, GOST R ISO 9703.3-99, GOST R ISO 9918-99, GOST R ISO 9919-99, GOST R ISO 10079.1-99, GOST R ISO 10079.2-99, GOST R ISO 10079.3-99, GOST R ISO 10651.1-99, GOST R ISO 10651.3-99, GOST R ISO 14602-99, GOST R MEK 60976-99, GOST R MEK 60977-99, GOST R MEK 61168-99, GOST R MEK 61170-99, GOST R MEK 61217-99 | GOST 2584-83, GOST 6915-89, GOST 18491-90, GOST 19687-89, GOST 23154-78, GOST 23496-89, GOST 23643-79, GOST 24264-93, GOST 24264.2-94, GOST 25047-87, GOST 25052-87, GOST 25053-87, GOST 25995-83, GOST 26145-84, GOST 26221-84, GOST 26997-2002, GOST 27047-86, GOST 27072-86, GOST 27874-88, GOST 28386-89, GOST 28603-90, GOST R 50327.2-92, GOST R 50444-92, GOST R 50663-99, GOST R 51024-97, GOST R 51073-97, GOST R 51193-98, GOST R 51316-99, GOST R 51397-99, GOST 51407-99, GOST R 51528-99, GOST R 51529-99, GOST R 51530-99, GOST R 51531-99, GOST 2584-83, GOST 6915-89, GOST 18491-90, GOST 19687-89, GOST 23 \ 54-78, GOST 23496-89, GOST 23643-79, GOST 24264-93, GOST 24264.2-94, GOST 25047-87, GOST 25052-87, GOST 25053-87, GOST 25995-83, GOST 26145-84, GOST 26221-84, GOST 26997-2002, GOST 27047-86, GOST 27072-86, GOST 27874-88, GOST 28386-89, GOST 28603-90, GOST R 50327.2-92, GOST R 50444-92, GOST R 50663-99, GOST R 51024-97, GOST R 51073-97, GOST R 51193-98, GOST R 51316-99, GOST R 51397-99, GOST 51407-99, GOST R 51528-99, GOST R 51529-99, GOST R 51530-99, GOST R 51531-99, GOST 51532-99, GOST 51533-99, GOST 51534-99, GOST R 51535-99, GOST R 51566-2000, GOST R 51959.1-2002, GOST R 51959.2-2002, GOST R 51959.3-2002, GOST R ISO 5358-99, GOST R ISO 8185-99, GOST R ISO 8615-99, GOST R ISO 8637-99, GOST R ISO 8638-99, GOST R ISO 8835.3-99, GOST R ISO 9703.1-99, GOST R ISO 9703.2-99, GOST R ISO 9703.3-99, GOST R ISO 9918-99, GOST R ISO 9919-99, GOST R ISO 10079.1-99, GOST R ISO 10079.2-99, GOST R ISO 10079.3-99, GOST R ISO 10651.1-99, GOST R ISO 10651.3-99, GOST R ISO 14602-99, GOST R MEK 60976-99, GOST R MEK 60977-99, GOST R MEK 61168-99, GOST R MEK 61170-99, GOST R MEK 61217-99 |
| 8 | Medical equipment including rehabilitation equipment products | 94 5000 | Technical qualifying testing, qualifying testing, periodic testing, type testing, acceptance and delivery testing | GOST R 50444-92, GOST R 51078-97, GOST R 51080-97, GOST R 51081-97, GOST R 51082-97, GOST R 51083-97, GOST R 51084-97, GOST R 51085-97, GOST R 51260-99, GOST R 51261-99, GOST R 51265-99, GOST R 51632-2000, GOST R 51633-2000, GOST R ISO 10535-99, GOST R ISO 13405-1-2001, RST RSFSR 736-86 GOST 12.2.025-76, GOST 12.2.095-76, GOST 19569-89, GOST 20569-89, GOST 22649-83, GOST 23267-78, GOST 25148-82, GOST 26161-89, GOST 26368-90, GOST 28131-89, GOST R 50444-92, GOST R 51081-97, GOST R 51084-97, GOSTР 51318.14.1-99, GOST R 51318.14.2-99 | GOST R 50444-92, GOST R 51078-97, GOST R 51080-97, GOST R 51081-97, GOST R 51082-97, GOST R 51083-97, GOST R 51084-97, GOST R 51085-97, GOST R 51260-99, GOST R 51261-99, GOST R 51265-99, GOST R 51632-2000, GOSTР 51633-2000, GOST R ISO 10535-99, GOST R ISO 13405-1-2001, RST RSFSR 736-86 GOST 12.2.025-76, GOST 12.2.095-76, GOST 19569-89, GOST 20569-89, GOST 22649-83, GOST 23267-78, GOST 25148-82, GOST 26161-89, GOST 26368-90, GOST 28131-89, GOST R 50444-92, GOST R 51081-97, GOST R 51084-97, GOST R 51318.14.1 -99, GOST R 51318.14.2-99 |
| 9 | Medical products made of rubber, polymers, latex and glass | 9000 3000 93 9800 9600 4400 94 6000 81 5800 81 9000 1180 6100 54 6358 84 6000 25 1400 25 3700 25 4500 | Technical qualifying testing, qualifying testing, periodic testing, type testing, acceptance and delivery testing | GOST 3-88, GOST 3399-76, GOST 4645-81, GOST 10782-85, GOST 25047-87, GOST R 50580.1-93, GOST R 50580.2-93, GOST R 50855-96, GOST R 51068-97, GOST R 51622-2000, GOST R 52238-2004, GOST R 52239-2004, GOST R ISO 7228-93, GOST R ISO 8637-99, GOST R ISO 8836-99, GOST R ISO 10555.1-99, GOST R ISO 10555.2-99, GOST R ISO 10555.3-99, GOST R ISO 10555.4-99, GOST R ISO 10555.5-99 | GOST 3-88, GOST 3399-76, GOST 4645-81, GOST 10782-85, GOST 25047-87, GOST R 50580.1-93, GOST R 50580.2-93, GOST R 50855-96, GOST R 51068-97, GOST R 51622-2000, GOST R 52238-2004, GOST R 52239-2004, GOST R ISO 7228-93, GOST R ISO 8637-99, GOST R ISO 8836-99, GOST R ISO 10555.1-99, GOST R ISO 10555.2-99, GOST R ISO 10555.3-99, GOST R ISO 10555.4-99, GOST R ISO 10555.5-99 |
| 10 | Lenses for correction of vision | 94 8000 | Technical qualifying testing, qualifying testing, periodic testing, type testing, acceptance and delivery testing | GOST 30808-2002, GOST R 51044-97, GOST R 51580-2000, GOST R 51711-2001, GOST R 52041-2003, | GOST 30808-2002, GOST R 51044-97, GOST R 51580-2000, GOST R 51711-2001, GOST R 52041-2003, |

Head of the Testing Center Energia Plus

[signed] N.P. Shandova

Seal:

Moscow region, Korolev

OGRN (primary state registration number) 1055003058065

Limited Liability Company

Energia Plus

# Text boxes

-О